## linregpcr_output
Analysis of Real Time PCR data | version:12.12 | WoL: amplicon group | [6 empty] | Chemistry: DNA binding dyes | [6 empty] | N0 = threshold /(Eff_mean^Cq) |  |  | LEGEND
analysis date:7/19/2011 |  | points in WoL: 4 | [6 empty] | Input: ss-cDNA
Input Sheet: Masson Kate Prog10 |  | Thresholds: group | [11 empty] | SORTED BY THIS | THEN Sub-SORTED BY THIS |  |  |  | Sample Use:
sample | name | lower_limit | upper_limit | n_included | N0_(indiv_eff) | indiv PCR eff | R2 | threshold | Cq | Baseline | Amplicon | Target_Seq | mean_PCR_eff | Template | Primers | N0_(mean eff) | Sample_Use | Quality_checks | 1: used for W-o-L setting | Average | StDev | Reletive level compared to Helicase | "StDev" using chemistry Eq
1 | A1 S2 | 0.40926 | 3.4834 | 5 | 1.0903e-07 | 1.6878 | 0.99914 | 1.7415 | 31.6875 | 0.57348 | S2 | ---- | 1.7099 | 1Col | S2 | 7.2271e-08 | 1 2 3 | 0 - - - - - - - - - - - - - | 2: contributes to mean PCR efficiency | 1.0681e-07 | 2.4188e-08 | 0.63385 | 0.15702
2 | A2 S2 | 0.40926 | 3.4834 | 4 | 1.1762e-07 | 1.7149 | 0.99988 | 1.7415 | 30.6104 | 0.79635 | S2 | ---- | 1.7099 | 1Col | S2 | 1.2879e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 3: N0 value calculated
13 | B1 S2 | 0.40926 | 3.4834 | 4 | 1.0524e-07 | 1.7141 | 0.99945 | 1.7415 | 30.8453 | 0.73393 | S2 | ---- | 1.7099 | 1Col | S2 | 1.1355e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 7: excluded by user
14 | B2 S2 | 0.40926 | 3.4834 | 4 | 1.3746e-07 | 1.6989 | 0.99957 | 1.7415 | 30.8605 | 0.86884 | S2 | ---- | 1.7099 | 1Col | S2 | 1.1262e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 8: included by user
25 | C1 S3 | 0.33574 | 3.3189 | 4 | 7.6341e-08 | 1.7584 | 0.99993 | 1.6595 | 29.9323 | 0.8452 | S3 | ---- | 1.7746 | 1Col | S3 | 5.8098e-08 | 1 2 3 | 0 - - - - - - - - - - - - - | Baseline Estimation: | 1.1047e-07 | 2.5204e-08 | 0.6556 | 0.16342
26 | C2 S3 | 0.33574 | 3.3189 | 4 | 1.5942e-07 | 1.7608 | 0.99995 | 1.6595 | 28.5594 | 0.8483 | S3 | ---- | 1.7746 | 1Col | S3 | 1.2769e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | log-linear phase criterion: strictly continuous Log-linear phase
37 | D1 S3 | 0.33574 | 3.3189 | 4 | 8.6616e-08 | 1.7709 | 0.9998 | 1.6595 | 29.3413 | 0.83894 | S3 | ---- | 1.7746 | 1Col | S3 | 8.1543e-08 | 1 2 3 | 0 - - - - - - - - - - - - -
38 | D2 S3 | 0.33574 | 3.3189 | 4 | 1.2481e-07 | 1.7732 | 0.99968 | 1.6595 | 28.6361 | 0.71782 | S3 | ---- | 1.7746 | 1Col | S3 | 1.2219e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
49 | E1 S5 | 0.28379 | 3.6392 | 4 | 1.6625e-07 | 1.8912 | 0.99987 | 1.8195 | 25.4365 | 1.3275 | S5 | ---- | 1.8937 | 1Col | S5 | 1.6071e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.507e-07 | 2.0293e-08 | 0.89435 | 0.15022
50 | E2 S5 | 0.28379 | 3.6392 | 4 | 1.4922e-07 | 1.8848 | 0.99957 | 1.8195 | 25.744 | 1.1654 | S5 | ---- | 1.8937 | 1Col | S5 | 1.3206e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
61 | F1 S5 | 0.28379 | 3.6392 | 4 | 1.3109e-07 | 1.8962 | 0.99968 | 1.8195 | 25.7019 | 1.3861 | S5 | ---- | 1.8937 | 1Col | S5 | 1.3565e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
62 | F2 S5 | 0.28379 | 3.6392 | 4 | 1.8405e-07 | 1.8897 | 0.99981 | 1.8195 | 25.3085 | 1.2946 | S5 | ---- | 1.8937 | 1Col | S5 | 1.7439e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
73 | G1 Helicase | 0.44157 | 4.8529 | 4 | 1.2366e-07 | 1.8361 | 0.9999 | 2.4265 | 27.635 | 0.93219 | Helicase | ---- | 1.8217 | 1Col | Helicase | 1.5376e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.6851e-07 | 1.6919e-08 | 1 | 0.142
74 | G2 Helicase | 0.44157 | 4.8529 | 4 | 2.0308e-07 | 1.8162 | 0.9999 | 2.4265 | 27.3089 | 0.88998 | Helicase | ---- | 1.8217 | 1Col | Helicase | 1.8698e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
85 | H1 Helicase | 0.44157 | 4.8529 | 4 | 1.7988e-07 | 1.8159 | 0.99987 | 2.4265 | 27.5196 | 0.79403 | Helicase | ---- | 1.8217 | 1Col | Helicase | 1.6478e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
86 | H2 Helicase | 0.44157 | 4.8529 | 4 | 1.1831e-07 | 1.8173 | 0.99975 | 2.4265 | 28.1849 | 0.68936 | Helicase | ---- | 1.8217 | 1Col | Helicase | 1.1056e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
3 | A3 S2 | 0.40926 | 3.4834 | 4 | 5.8835e-08 | 1.7234 | 0.99993 | 1.7415 | 31.6052 | 0.70757 | S2 | ---- | 1.7099 | 2ami1 | S2 | 7.5534e-08 | 1 2 3 | 0 - - - - - - - - - - - - - | 0: not used / calculated | 8.9892e-08 | 1.0662e-08 | 0.43643 | 0.05358
4 | A4 S2 | 0.40926 | 3.4834 | 4 | 6.8141e-08 | 1.7275 | 0.99977 | 1.7415 | 31.2011 | 0.79134 | S2 | ---- | 1.7099 | 2ami1 | S2 | 9.3814e-08 | 1 2 3 | 0 - - - - - - - - - - - - -
15 | B3 S2 | 0.40926 | 3.4834 | 4 | 1.1682e-07 | 1.7018 | 0.9998 | 1.7415 | 31.067 | 0.8545 | S2 | ---- | 1.7099 | 2ami1 | S2 | 1.0081e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 9: manual baseline
16 | B4 S2 | 0.40926 | 3.4834 | 4 | 7.5588e-08 | 1.7191 | 0.9999 | 1.7415 | 31.2908 | 0.73728 | S2 | ---- | 1.7099 | 2ami1 | S2 | 8.9406e-08 | 1 2 3 | 0 - - - - - - - - - - - - -
27 | C3 S3 | 0.33574 | 3.3189 | 4 | 1.605e-07 | 1.7675 | 0.99995 | 1.6595 | 28.3581 | 0.90688 | S3 | ---- | 1.7746 | 2ami1 | S3 | 1.4331e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.3855e-07 | 8.0634e-09 | 0.67269 | 0.044576
28 | C4 S3 | 0.33574 | 3.3189 | 4 | 1.6492e-07 | 1.7657 | 0.99999 | 1.6595 | 28.3619 | 0.9164 | S3 | ---- | 1.7746 | 2ami1 | S3 | 1.43e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
39 | D3 S3 | 0.33574 | 3.3189 | 4 | 1.0205e-07 | 1.788 | 0.99989 | 1.6595 | 28.5753 | 0.82865 | S3 | ---- | 1.7746 | 2ami1 | S3 | 1.2653e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
40 | D4 S3 | 0.33574 | 3.3189 | 4 | 9.597e-08 | 1.7989 | 0.99964 | 1.6595 | 28.3819 | 0.965 | S3 | ---- | 1.7746 | 2ami1 | S3 | 1.4137e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
51 | E3 S5 | 0.28379 | 3.6392 | 4 | 2.0234e-07 | 1.8748 | 0.99991 | 1.8195 | 25.4755 | 1.398 | S5 | ---- | 1.8937 | 2ami1 | S5 | 1.5675e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.5935e-07 | 3.1575e-08 | 0.77368 | 0.15525
52 | E4 S5 | 0.28379 | 3.6392 | 4 | 1.8904e-07 | 1.8904 | 0.99969 | 1.8195 | 25.252 | 1.5294 | S5 | ---- | 1.8937 | 2ami1 | S5 | 1.808e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
63 | F3 S5 | 0.28379 | 3.6392 | 4 | 1.7768e-07 | 1.8627 | 0.9994 | 1.8195 | 25.9513 | 1.2582 | S5 | ---- | 1.8937 | 2ami1 | S5 | 1.1568e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
64 | F4 S5 | 0.28379 | 3.6392 | 4 | 1.4703e-07 | 1.9107 | 0.99905 | 1.8195 | 25.2229 | 1.418 | S5 | ---- | 1.8937 | 2ami1 | S5 | 1.8419e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
75 | G3 Helicase | 0.44157 | 4.8529 | 4 | 2.2251e-07 | 1.8151 | 0.99957 | 2.4265 | 27.1829 | 1.048 | Helicase | ---- | 1.8217 | 2ami1 | Helicase | 2.0166e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 2.0597e-07 | 6.5274e-09 | 1 | 0.044818
76 | G4 Helicase | 0.44157 | 4.8529 | 4 | 2.2471e-07 | 1.8137 | 0.99973 | 2.4265 | 27.2012 | 0.92787 | Helicase | ---- | 1.8217 | 2ami1 | Helicase | 1.9945e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
87 | H3 Helicase | 0.44157 | 4.8529 | 4 | 2.2341e-07 | 1.8173 | 0.9997 | 2.4265 | 27.1203 | 0.95388 | Helicase | ---- | 1.8217 | 2ami1 | Helicase | 2.0937e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
88 | H4 Helicase | 0.44157 | 4.8529 | 4 | 2.5916e-07 | 1.8087 | 0.99987 | 2.4265 | 27.0885 | 1.0085 | Helicase | ---- | 1.8217 | 2ami1 | Helicase | 2.134e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
5 | A5 S2 | 0.40926 | 3.4834 | 4 | 1.4649e-07 | 1.6969 | 0.99937 | 1.7415 | 30.8084 | 0.79999 | S2 | ---- | 1.7099 | 3ami2 | S2 | 1.1581e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | Quality Checks: | 1.1305e-07 | 3.6369e-09 | 0.73819 | 0.061762
6 | A6 S2 | 0.40926 | 3.4834 | 4 | 1.0844e-07 | 1.7136 | 0.99971 | 1.7415 | 30.8053 | 0.70836 | S2 | ---- | 1.7099 | 3ami2 | S2 | 1.1601e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 0: passed all checks
17 | B5 S2 | 0.40926 | 3.4834 | 4 | 1.3288e-07 | 1.7004 | 0.99976 | 1.7415 | 30.8701 | 0.70905 | S2 | ---- | 1.7099 | 3ami2 | S2 | 1.1204e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | if amplicon groups are defined the rules are applied per group
18 | B6 S2 | 0.40926 | 3.4834 | 4 | 1.4747e-07 | 1.6929 | 0.99974 | 1.7415 | 30.933 | 0.70605 | S2 | ---- | 1.7099 | 3ami2 | S2 | 1.0833e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
29 | C5 S3 | 0.33574 | 3.3189 | 4 | 1.8696e-07 | 1.7543 | 0.99994 | 1.6595 | 28.4638 | 0.8067 | S3 | ---- | 1.7746 | 3ami2 | S3 | 1.3488e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.4682e-07 | 1.0498e-08 | 0.95871 | 0.10091
30 | C6 S3 | 0.33574 | 3.3189 | 4 | 6.8014e-08 | 1.7587 | 0.99999 | 1.6595 | 30.1284 | 0.66176 | S3 | ---- | 1.7746 | 3ami2 | S3 | 5.1919e-08 | 1 2 3 | 0 - - - - - - - - - - - - -
41 | D5 S3 | 0.33574 | 3.3189 | 4 | 1.2152e-07 | 1.7882 | 0.99986 | 1.6595 | 28.2678 | 0.81929 | S3 | ---- | 1.7746 | 3ami2 | S3 | 1.5093e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
42 | D6 S3 | 0.33574 | 3.3189 | 4 | 1.3079e-07 | 1.7851 | 0.99976 | 1.6595 | 28.2256 | 0.80732 | S3 | ---- | 1.7746 | 3ami2 | S3 | 1.5463e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
53 | E5 S5 | 0.28379 | 3.6392 | 4 | 1.8556e-07 | 1.8951 | 0.99962 | 1.8195 | 25.1822 | 1.325 | S5 | ---- | 1.8937 | 3ami2 | S5 | 1.8904e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.8167e-07 | 1.1624e-08 | 1.1863 | 0.11898
54 | E6 S5 | 0.28379 | 3.6392 | 4 | 2.0003e-07 | 1.8913 | 0.99973 | 1.8195 | 25.1434 | 1.3094 | S5 | ---- | 1.8937 | 3ami2 | S5 | 1.9378e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
65 | F5 S5 | 0.28379 | 3.6392 | 4 | 1.4461e-07 | 1.9079 | 0.99914 | 1.8195 | 25.3061 | 1.1987 | S5 | ---- | 1.8937 | 3ami2 | S5 | 1.7466e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
66 | F6 S5 | 0.28379 | 3.6392 | 4 | 2.8955e-07 | 1.854 | 0.99993 | 1.8195 | 25.3557 | 1.1653 | S5 | ---- | 1.8937 | 3ami2 | S5 | 1.6921e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
77 | G5 Helicase | 0.44157 | 4.8529 | 4 | 1.5011e-07 | 1.8215 | 0.99986 | 2.4265 | 27.6806 | 0.72538 | Helicase | ---- | 1.8217 | 3ami2 | Helicase | 1.4962e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.5314e-07 | 1.1828e-08 | 1 | 0.10923
78 | G6 Helicase | 0.44157 | 4.8529 | 5 | 1.7009e-07 | 1.8082 | 0.99943 | 2.4265 | 27.8109 | 0.79915 | Helicase | ---- | 1.8217 | 3ami2 | Helicase | 1.3836e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
89 | H5 Helicase | 0.44157 | 4.8529 | 4 | 1.4514e-07 | 1.8304 | 0.99943 | 2.4265 | 27.5117 | 0.79754 | Helicase | ---- | 1.8217 | 3ami2 | Helicase | 1.6557e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
90 | H6 Helicase | 0.44157 | 4.8529 | 4 | 1.3232e-07 | 1.8339 | 0.99977 | 2.4265 | 27.579 | 0.80752 | Helicase | ---- | 1.8217 | 3ami2 | Helicase | 1.5901e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
7 | A7 S2 | 0.40926 | 3.4834 | 3 | 9.8694e-08 | 1.7239 | 0.99981 | 1.7415 | 30.6396 | 0.78 | S2 | ---- | 1.7099 | 4ami2 | S2 | 1.2679e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 1: no amplification | 1.1905e-07 | 7.9832e-09 | 0.6293 | 0.046503
8 | A8 S2 | 0.40926 | 3.4834 | 4 | 1.5816e-07 | 1.6914 | 0.99993 | 1.7415 | 30.8526 | 0.68481 | S2 | ---- | 1.7099 | 4ami2 | S2 | 1.131e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 2: baseline error
19 | B7 S2 | 0.40926 | 3.4834 | 5 | 1.5366e-07 | 1.6984 | 0.99972 | 1.7415 | 30.6659 | 0.81219 | S2 | ---- | 1.7099 | 4ami2 | S2 | 1.2501e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | User Choices:
20 | B8 S2 | 0.40926 | 3.4834 | 4 | 1.2815e-07 | 1.7021 | 0.99978 | 1.7415 | 30.8827 | 0.80498 | S2 | ---- | 1.7099 | 4ami2 | S2 | 1.1129e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
31 | C7 S3 | 0.33574 | 3.3189 | 4 | 1.942e-07 | 1.7716 | 0.99973 | 1.6595 | 27.908 | 0.92903 | S3 | ---- | 1.7746 | 4ami2 | S3 | 1.8553e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.7346e-07 | 1.3729e-08 | 0.91694 | 0.077959
32 | C8 S3 | 0.33574 | 3.3189 | 4 | 2.2972e-07 | 1.7563 | 0.99994 | 1.6595 | 28.0403 | 0.83566 | S3 | ---- | 1.7746 | 4ami2 | S3 | 1.7196e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
43 | D7 S3 | 0.33574 | 3.3189 | 4 | 1.34e-07 | 1.794 | 0.99965 | 1.6595 | 27.945 | 0.93384 | S3 | ---- | 1.7746 | 4ami2 | S3 | 1.8163e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
44 | D8 S3 | 0.33574 | 3.3189 | 4 | 1.2293e-07 | 1.7891 | 0.9998 | 1.6595 | 28.2245 | 0.88907 | S3 | ---- | 1.7746 | 4ami2 | S3 | 1.5473e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
55 | E7 S5 | 0.28379 | 3.6392 | 3 | 1.6721e-07 | 1.9204 | 0.99999 | 1.8195 | 24.8302 | 1.5494 | S5 | ---- | 1.8937 | 4ami2 | S5 | 2.3668e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 2.1477e-07 | 1.7283e-08 | 1.1353 | 0.097925
56 | E8 S5 | 0.28379 | 3.6392 | 4 | 2.2175e-07 | 1.8929 | 0.99946 | 1.8195 | 24.949 | 1.6835 | S5 | ---- | 1.8937 | 4ami2 | S5 | 2.1939e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
67 | F7 S5 | 0.28379 | 3.6392 | 4 | 2.184e-07 | 1.8894 | 0.99966 | 1.8195 | 25.0465 | 1.55 | S5 | ---- | 1.8937 | 4ami2 | S5 | 2.0615e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
68 | F8 S5 | 0.28379 | 3.6392 | 4 | 2.3163e-07 | 1.8815 | 0.99982 | 1.8195 | 25.1186 | 1.3549 | S5 | ---- | 1.8937 | 4ami2 | S5 | 1.9687e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
79 | G7 Helicase | 0.44157 | 4.8529 | 4 | 1.7935e-07 | 1.823 | 0.99992 | 2.4265 | 27.3454 | 0.9285 | Helicase | ---- | 1.8217 | 4ami2 | Helicase | 1.8292e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.8917e-07 | 5.8729e-09 | 1 | 0.043904
80 | G8 Helicase | 0.44157 | 4.8529 | 4 | 1.6906e-07 | 1.8307 | 0.99971 | 2.4265 | 27.2525 | 0.83448 | Helicase | ---- | 1.8217 | 4ami2 | Helicase | 1.9341e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
91 | H7 Helicase | 0.44157 | 4.8529 | 4 | 1.4942e-07 | 1.8361 | 0.99979 | 2.4265 | 27.3224 | 0.8239 | Helicase | ---- | 1.8217 | 4ami2 | Helicase | 1.8547e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
92 | H8 Helicase | 0.44157 | 4.8529 | 4 | 1.9849e-07 | 1.8205 | 0.99998 | 2.4265 | 27.2398 | 0.85654 | Helicase | ---- | 1.8217 | 4ami2 | Helicase | 1.9489e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
9 | A9 S2 | 0.40926 | 3.4834 | 4 | 5.514e-08 | 1.7346 | 0.99975 | 1.7415 | 31.3517 | 0.62725 | S2 | ---- | 1.7099 | 5Col | S2 | 8.6534e-08 | 1 2 3 | 0 - - - - - - - - - - - - - | 3: no plateau | 1.2058e-07 | 2.295e-08 | 0.55132 | 0.10739
10 | A10 S2 | 0.40926 | 3.4834 | 4 | 1.3593e-07 | 1.71 | 0.99997 | 1.7415 | 30.5063 | 0.806 | S2 | ---- | 1.7099 | 5Col | S2 | 1.3618e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | 4: noisy sample
21 | B9 S2 | 0.40926 | 3.4834 | 4 | 1.0183e-07 | 1.7226 | 0.99953 | 1.7415 | 30.6236 | 0.7378 | S2 | ---- | 1.7099 | 5Col | S2 | 1.2788e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | Calculation of Mean Efficiency:
22 | B10 S2 | 0.40926 | 3.4834 | 4 | 1.0417e-07 | 1.723 | 1 | 1.7415 | 30.5684 | 0.8493 | S2 | ---- | 1.7099 | 5Col | S2 | 1.3172e-07 | 1 2 3 | 0 - - - - - - - - - - - - - | exclude <no plateau> samples
33 | C9 S3 | 0.33574 | 3.3189 | 4 | 2.2404e-07 | 1.7601 | 0.99996 | 1.6595 | 27.9787 | 0.92 | S3 | ---- | 1.7746 | 5Col | S3 | 1.7816e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 1.8001e-07 | 2.5712e-08 | 0.82302 | 0.12242
34 | C10 S3 | 0.33574 | 3.3189 | 4 | 1.9639e-07 | 1.78 | 0.99989 | 1.6595 | 27.6597 | 1.0499 | S3 | ---- | 1.7746 | 5Col | S3 | 2.1392e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
45 | D9 S3 | 0.33574 | 3.3189 | 4 | 1.2236e-07 | 1.788 | 0.99979 | 1.6595 | 28.2623 | 1.018 | S3 | ---- | 1.7746 | 5Col | S3 | 1.5141e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
46 | D10 S3 | 0.33574 | 3.3189 | 4 | 1.5664e-07 | 1.7821 | 0.99956 | 1.6595 | 27.9946 | 0.96295 | S3 | ---- | 1.7746 | 5Col | S3 | 1.7654e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
57 | E9 S5 | 0.28379 | 3.6392 | 3 | 1.3087e-07 | 1.9391 | 0.99981 | 1.8195 | 24.8371 | 1.5738 | S5 | ---- | 1.8937 | 5Col | S5 | 2.3564e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 2.3097e-07 | 9.0746e-09 | 1.056 | 0.060329
58 | E10 S5 | 0.28379 | 3.6392 | 3 | 1.5634e-07 | 1.9272 | 0.99987 | 1.8195 | 24.7994 | 1.5036 | S5 | ---- | 1.8937 | 5Col | S5 | 2.4138e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
69 | F9 S5 | 0.28379 | 3.6392 | 4 | 2.3302e-07 | 1.891 | 0.99936 | 1.8195 | 24.9116 | 1.36 | S5 | ---- | 1.8937 | 5Col | S5 | 2.2469e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
70 | F10 S5 | 0.28379 | 3.6392 | 4 | 2.521e-07 | 1.8841 | 0.99971 | 1.8195 | 24.9292 | 1.52 | S5 | ---- | 1.8937 | 5Col | S5 | 2.2218e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
81 | G9 Helicase | 0.44157 | 4.8529 | 4 | 2.3222e-07 | 1.8137 | 0.99974 | 2.4265 | 27.1467 | 0.83121 | Helicase | ---- | 1.8217 | 5Col | Helicase | 2.0608e-07 | 1 2 3 | 0 - - - - - - - - - - - - - |  | 2.1871e-07 | 9.0706e-09 | 1 | 0.058651
82 | G10 Helicase | 0.44157 | 4.8529 | 4 | 1.9836e-07 | 1.829 | 0.99981 | 2.4265 | 27.0284 | 0.96179 | Helicase | ---- | 1.8217 | 5Col | Helicase | 2.2123e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
93 | H9 Helicase | 0.44157 | 4.8529 | 4 | 2.093e-07 | 1.825 | 0.99956 | 2.4265 | 27.0382 | 0.88706 | Helicase | ---- | 1.8217 | 5Col | Helicase | 2.1993e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
94 | H10 Helicase | 0.44157 | 4.8529 | 4 | 2.2878e-07 | 1.8213 | 0.99965 | 2.4265 | 26.9809 | 0.94871 | Helicase | ---- | 1.8217 | 5Col | Helicase | 2.2762e-07 | 1 2 3 | 0 - - - - - - - - - - - - -
11 | A11 S2 | 0.40926 | 3.4834 | 0 | 1 | 1 | 0 | 1.7415 | 0 | 0.7524 | S2 | ---- | 1.7099 | 6N | S2 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - - | 5: PCR efficiency outside 5% | The software always denotes "no amplifacation" as -999
12 | A12 S2 | 0.40926 | 3.4834 | 0 | 1 | 1 | 0 | 1.7415 | 0 | 0.8811 | S2 | ---- | 1.7099 | 6N | S2 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - - | 6: excluded from mean Eff
23 | B11 S2 | 0.40926 | 3.4834 | 0 | 1 | 1 | 0 | 1.7415 | 0 | 0.9306 | S2 | ---- | 1.7099 | 6N | S2 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - - | exclude <efficiency outlier> samples
24 | B12 S2 | 0.40926 | 3.4834 | 0 | 1 | 1 | 0 | 1.7415 | 0 | 0.8217 | S2 | ---- | 1.7099 | 6N | S2 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - - | efficiency outlier defined as >5% from group median
35 | C11 S3 | 0.33574 | 3.3189 | 0 | 1 | 1 | 0 | 1.6595 | 0 | 0.8712 | S3 | ---- | 1.7746 | 6N | S3 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
36 | C12 S3 | 0.33574 | 3.3189 | 0 | 1 | 1 | 0 | 1.6595 | 0 | 0.8712 | S3 | ---- | 1.7746 | 6N | S3 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
47 | D11 S3 | 0.33574 | 3.3189 | 0 | 1 | 1 | 0 | 1.6595 | 0 | 0.7722 | S3 | ---- | 1.7746 | 6N | S3 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
48 | D12 S3 | 0.33574 | 3.3189 | 0 | 1 | 1 | 0 | 1.6595 | 0 | 0.8118 | S3 | ---- | 1.7746 | 6N | S3 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
59 | E11 S5 | 0.28379 | 3.6392 | 0 | 1 | 1 | 0 | 1.8195 | 0 | 1.3068 | S5 | ---- | 1.8937 | 6N | S5 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
60 | E12 S5 | 0.28379 | 3.6392 | 4 | 2.0074e-12 | 1.9204 | 1 | 1.8195 | 42.1949 | 1.4157 | S5 | ---- | 1.8937 | 6N | S5 | -999 | 0 0 0 | - 1 - 3 - - 6 - - - - - - -
71 | F11 S5 | 0.28379 | 3.6392 | 0 | 1 | 1 | 0 | 1.8195 | 0 | 1.287 | S5 | ---- | 1.8937 | 6N | S5 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
72 | F12 S5 | 0.28379 | 3.6392 | 2 | 3.1588e-14 | 1.9899 | 1 | 1.8195 | 46.0483 | 1.4355 | S5 | ---- | 1.8937 | 6N | S5 | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
83 | G11 Helicase | 0.44157 | 4.8529 | 0 | 1 | 1 | 0 | 2.4265 | 0 | 0.99 | Helicase | ---- | 1.8217 | 6N | Helicase | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
84 | G12 Helicase | 0.44157 | 4.8529 | 3 | 9.5947e-11 | 1.8547 | 0.99996 | 2.4265 | 38.7778 | 0.93258 | Helicase | ---- | 1.8217 | 6N | Helicase | -999 | 0 0 0 | - - - 3 - - 6 7 - - - - - -
95 | H11 Helicase | 0.44157 | 4.8529 | 0 | 1 | 1 | 0 | 2.4265 | 0 | 0.8811 | Helicase | ---- | 1.8217 | 6N | Helicase | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -
96 | H12 Helicase | 0.44157 | 4.8529 | 0 | 1 | 1 | 0 | 2.4265 | 0 | 0.9801 | Helicase | ---- | 1.8217 | 6N | Helicase | -999 | 0 0 0 | - 1 - 3 - 5 6 - - - - - - -

## PrimeEff
qPCR Primers for Today's Reaction
Gene | Today's Column | Primer Name | Spliceoforms | Melt Curve | Today's Primer Efficency
SRp34b | S2 | 22) SRp34b_F4 | Only works on spliceoforms that include the second blue exon. (p.G148,G149) | Good | 1.7099
23) SRp34b_R4
| S3 | 24) SRp34b_F5 | Only works on spliceoforms that include the third blue exon. (p.G148,G149) | Slight Double! | 1.7746
20) SRp34b_R2
| S5 | 30) SRp34b_F6 | Should work on all spliceoforms. (p.G148,G149) | Good | 1.8937
10) SRp34b_R1
Refference Gene | H | qHeli-F | Refference Gene, p.H13, H14 | Good | 1.8217
qHeli-R

## summary results
Template | Primers | Reletive to Helicase
|  | Expression Ratio | "StDev"
1Col | S2 | 0.63385 | 0.15702
| S3 | 0.6556 | 0.16342
| S5 | 0.89435 | 0.15022
| Helicase | 1 | 0.142
5Col | S2 | 0.55132 | 0.10739
| S3 | 0.82302 | 0.12242
| S5 | 1.056 | 0.060329
| Helicase | 1 | 0.058651
2ami1 | S2 | 0.43643 | 0.05358
| S3 | 0.67269 | 0.044576
| S5 | 0.77368 | 0.15525
| Helicase | 1 | 0.044818
3ami2 | S2 | 0.73819 | 0.061762
| S3 | 0.95871 | 0.10091
| S5 | 1.1863 | 0.11898
| Helicase | 1 | 0.10923
4ami2 | S2 | 0.6293 | 0.046503
| S3 | 0.91694 | 0.077959
| S5 | 1.1353 | 0.097925
| Helicase | 1 | 0.043904
These bars for indiviual plants. The error bars are "standard deviation" using the chemistry equation. It's a little wonky because the expression ratio is a ratio of averages, but is not it's self an average. In papers, people usually average the ratio for multiple plants, and then you can take a regular standard diviation. This chemistry equation is good for presenting your latest data in your lab notebook or at lab meeting.
No difference between amiRNA plants and WT for these primers!

## Recipe
| Each Final reaction volume will be: | 10 | Are Seedlings Spliceing SRp34b differently?
|  |  |  | 114.048 | 26.4 | 26.4 | 26.4 | 26.4 |  | 1
| Reagent | [Stock] | [RXN] | Mast Mix0 | S2 | S3 | S5 | H |  | Each Tube
| Water, PCR-grade from Kit |  |  | 228.096
| Syber Green Master Mix | 2 | 1 | 570.24
| Primers Later | 10 | 1 | 114.048
S2 | 22) SRp34b_F4 | 10 | 0.5 |  | 13.2
| 23) SRp34b_R4 | 10 | 0.5 |  | 13.2
S3 | 24) SRp34b_F5 | 10 | 0.5 |  |  | 13.2
| 20) SRp34b_R2 | 10 | 0.5 |  |  | 13.2
S5 | 30) SRp34b_F6 | 10 | 0.5 |  |  |  | 13.2
| 10) SRp34b_R1 | 10 | 0.5 |  |  |  | 13.2
H | qHeli-F | 10 | 0.5 |  |  |  |  | 13.2
| qHeli-R | 10 | 0.5 |  |  |  |  | 13.2
| Mast Mix0 |  |  |  | 184.8 | 184.8 | 184.8 | 184.8 | 0
| Sub MastMixes | [8 empty] | 8
later | cDNA samples from p.H59 | 10 | 2 | 228.096 | 52.8 | 52.8 | 52.8 | 52.8 |  | 2
| 2011-07-18 | Total Volume |  | 798.336 | 211.2 | 211.2 | 211.2 | 211.2 |  | 8

## Serial Dilution Plan
cDNA Dilution Plan
cDNA Dilution Factor |  | Pippeting Eaze | How I will Mix It | Volume Produced
Samples
0.25 | Quarter Stregth | 2 | 2.2 | 17.6
15.4
I decided to try adding 2ul of template to the reaction for pipeting ease (previously I have been using 1ul). So, I am going to dilute it twice as much and add twice as much to get back to the same place.
I dilute the cDNA to make the volume easier to pipet into the reactions. The amount you need to dilute it is different for each batch of cDNA. You have to take a good guess and then you can adjust it. It's good to have cq values of 20-35.

## Template
This was just the list of cDNA samples I happened to use on this day, and the short abbrivated names I used to identify the samples on my plate layout plan.
Seedling cDNA samples from p.H59
Old# | Today# | Plants
1 | 1C | □.1A | col | TTTcDNA p.H57
2 | 2A | □.1D | □1.2 (ami1) | TTTcDNA p.H57
3 | 3A | □.13H | DSB12 (ami2, Daint) | TTTcDNA p.H57
4 | 4A | □.14B | DSB12 (ami2, Daint) | TTTcDNA p.H57
5 | 5C | □.10G | col | TTTcDNA p.H57
1N |  | □.1A | col | NTC p.H57 | These are all "no reverse transcriptase controls". Because I only had a few cDNA samples, I made a No-RT control for each one. That's not feasible when you have 60 cDNA samples.
2N |  | □.1D | □1.2 (ami1) | NTC p.H57
3N | 6N | □.13H | DSB12 (ami2, Daint) | NTC p.H57
4N |  | □.14B | DSB12 (ami2, Daint) | NTC p.H57
5N |  | □.10G | col | NTC p.H57
No Template Control

## Program
Thermocycling and Data Collection Program
2011-07-18
Are Seedlings Spliceing SRp34b differently?
Cycle Name | Cycle# | Analysis | Temp | Time |  |  | Ramp | Acquisition
Pre-Incubation | 1 | None | 95 | 7 | : | 0 | 4.4 | None
Amplifacation | 45 | Quantification | 95 | 0 | : | 10 | 4.4 | None
|  |  | 55 | 0 | : | 10 | 2.2 | None
|  |  | 72 | 0 | : | 5 | 4.4 | Single
Melt Curve | 1 | Melting Curves | 95C | 0 | : | 5 | 4.4 | None
|  |  | 55C | 1 | : | 0 | 2.2 | None
|  |  | 97C |  |  |  | -- | Continuious (5 acc/C)
Cooling | 1 | None | 40 | 0 | : | 10 | 1.5 | None
|  | Sum: |  | 26.8333
|  | Actual: |  | ~1hr 15 min
I use this same program eveytime so far.

## Plate Layout
This is my plan for how I will set-up my plate, and it's also my results. I have applied conditional formating to the results so it's a heat map. Use the tab called "List4PlateLayout" to easily add your data to this layout. You will also want to change the primer and template names.
|  | A Columbia Plant | [5 empty] | An amiRNA Plant | [6 empty] | An amiRNA Plant | [5 empty] | An amiRNA Plant | [5 empty] | A Columbia Plant | [5 empty] | A No-RT Control
|  | 1 |  |  | 2 |  |  | 3 |  |  |  | 4 |  |  | 5 |  |  | 6 |  |  | 7 |  |  | 8 |  |  | 9 |  |  | 10 |  |  | 11 |  |  | 12
SRp34b spliceoform 2 | A | 1C | S2 | 7.2271e-08 | 1C | S2 | 1.2879e-07 | 2A | S2 | 7.5534e-08 |  | 2A | S2 | 9.3814e-08 | 3A | S2 | 1.1581e-07 | 3A | S2 | 1.1601e-07 | 4A | S2 | 1.2679e-07 | 4A | S2 | 1.131e-07 | 5C | S2 | 8.6534e-08 | 5C | S2 | 1.3618e-07 | 3N | S2 | -- | 3N | S2 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | Sheet3!C2 | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
| B | 1C | S2 | 1.1355e-07 | 1C | S2 | 1.1262e-07 | 2A | S2 | 1.0081e-07 |  | 2A | S2 | 8.9406e-08 | 3A | S2 | 1.1204e-07 | 3A | S2 | 1.0833e-07 | 4A | S2 | 1.2501e-07 | 4A | S2 | 1.1129e-07 | 5C | S2 | 1.2788e-07 | 5C | S2 | 1.3172e-07 | 3N | S2 | -- | 3N | S2 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
SRp34b spliceoform 3 | C | 1C | S3 | 5.8098e-08 | 1C | S3 | 1.2769e-07 | 2A | S3 | 1.4331e-07 |  | 2A | S3 | 1.43e-07 | 3A | S3 | 1.3488e-07 | 3A | S3 | 5.1919e-08 | 4A | S3 | 1.8553e-07 | 4A | S3 | 1.7196e-07 | 5C | S3 | 1.7816e-07 | 5C | S3 | 2.1392e-07 | 3N | S3 | -- | 3N | S3 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
| D | 1C | S3 | 8.1543e-08 | 1C | S3 | 1.2219e-07 | 2A | S3 | 1.2653e-07 |  | 2A | S3 | 1.4137e-07 | 3A | S3 | 1.5093e-07 | 3A | S3 | 1.5463e-07 | 4A | S3 | 1.8163e-07 | 4A | S3 | 1.5473e-07 | 5C | S3 | 1.5141e-07 | 5C | S3 | 1.7654e-07 | 3N | S3 | -- | 3N | S3 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
SRp34b spliceoform 5 | E | 1C | S5 | 1.6071e-07 | 1C | S5 | 1.3206e-07 | 2A | S5 | 1.5675e-07 |  | 2A | S5 | 1.808e-07 | 3A | S5 | 1.8904e-07 | 3A | S5 | 1.9378e-07 | 4A | S5 | 2.3668e-07 | 4A | S5 | 2.1939e-07 | 5C | S5 | 2.3564e-07 | 5C | S5 | 2.4138e-07 | 3N | S5 | -- | 3N | S5 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
| F | 1C | S5 | 1.3565e-07 | 1C | S5 | 1.7439e-07 | 2A | S5 | 1.1568e-07 |  | 2A | S5 | 1.8419e-07 | 3A | S5 | 1.7466e-07 | 3A | S5 | 1.6921e-07 | 4A | S5 | 2.0615e-07 | 4A | S5 | 1.9687e-07 | 5C | S5 | 2.2469e-07 | 5C | S5 | 2.2218e-07 | 3N | S5 | -- | 3N | S5 | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
Helicase Refference Gene | G | 1C | H | 1.5376e-07 | 1C | H | 1.8698e-07 | 2A | H | 2.0166e-07 |  | 2A | H | 1.9945e-07 | 3A | H | 1.4962e-07 | 3A | H | 1.3836e-07 | 4A | H | 1.8292e-07 | 4A | H | 1.9341e-07 | 5C | H | 2.0608e-07 | 5C | H | 2.2123e-07 | 3N | H | -- | 3N | H | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
| H | 1C | H | 1.6478e-07 | 1C | H | 1.1056e-07 | 2A | H | 2.0937e-07 |  | 2A | H | 2.134e-07 | 3A | H | 1.6557e-07 | 3A | H | 1.5901e-07 | 4A | H | 1.8547e-07 | 4A | H | 1.9489e-07 | 5C | H | 2.1993e-07 | 5C | H | 2.2762e-07 | 3N | H | -- | 3N | H | --
|  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25 |  |  | 0.25
|  |  | 1C | number of cDNA sample. C=Columbia. A=amiRNA plant
|  |  | 0.25 | DNA Sample Dilution Factor (0.25=Quarter Stregth)
|  |  | S2 | Primer Pair
|  |  | 2.2762e-07 | No Value
For this set-up, I have 4 technical repeats of each reaction.

## List4PlateLayout
This worksheet allows you to make the results heat map really easily from your new data.
Pos | Letter | # | N0 | N0 Corrected
A1 | A | 1 | 7.2271e-08 | 7.2271e-08
A2 | A | 2 | 1.2879e-07 | 1.2879e-07
A3 | A | 3 | 7.5534e-08 | 7.5534e-08
A4 | A | 4 | 9.3814e-08 | 9.3814e-08
A5 | A | 5 | 1.1581e-07 | 1.1581e-07
A6 | A | 6 | 1.1601e-07 | 1.1601e-07
A7 | A | 7 | 1.2679e-07 | 1.2679e-07
A8 | A | 8 | 1.131e-07 | 1.131e-07
A9 | A | 9 | 8.6534e-08 | 8.6534e-08
A10 | A | 10 | 1.3618e-07 | 1.3618e-07
A11 | A | 11 | -999 | --
A12 | A | 12 | -999 | --
B1 | B | 1 | 1.1355e-07 | 1.1355e-07
B2 | B | 2 | 1.1262e-07 | 1.1262e-07
B3 | B | 3 | 1.0081e-07 | 1.0081e-07
B4 | B | 4 | 8.9406e-08 | 8.9406e-08
B5 | B | 5 | 1.1204e-07 | 1.1204e-07
B6 | B | 6 | 1.0833e-07 | 1.0833e-07
B7 | B | 7 | 1.2501e-07 | 1.2501e-07
B8 | B | 8 | 1.1129e-07 | 1.1129e-07
B9 | B | 9 | 1.2788e-07 | 1.2788e-07
B10 | B | 10 | 1.3172e-07 | 1.3172e-07
B11 | B | 11 | -999 | --
B12 | B | 12 | -999 | --
C1 | C | 1 | 5.8098e-08 | 5.8098e-08
C2 | C | 2 | 1.2769e-07 | 1.2769e-07
C3 | C | 3 | 1.4331e-07 | 1.4331e-07
C4 | C | 4 | 1.43e-07 | 1.43e-07
C5 | C | 5 | 1.3488e-07 | 1.3488e-07
C6 | C | 6 | 5.1919e-08 | 5.1919e-08
C7 | C | 7 | 1.8553e-07 | 1.8553e-07
C8 | C | 8 | 1.7196e-07 | 1.7196e-07
C9 | C | 9 | 1.7816e-07 | 1.7816e-07
C10 | C | 10 | 2.1392e-07 | 2.1392e-07
C11 | C | 11 | -999 | --
C12 | C | 12 | -999 | --
D1 | D | 1 | 8.1543e-08 | 8.1543e-08
D2 | D | 2 | 1.2219e-07 | 1.2219e-07
D3 | D | 3 | 1.2653e-07 | 1.2653e-07
D4 | D | 4 | 1.4137e-07 | 1.4137e-07
D5 | D | 5 | 1.5093e-07 | 1.5093e-07
D6 | D | 6 | 1.5463e-07 | 1.5463e-07
D7 | D | 7 | 1.8163e-07 | 1.8163e-07
D8 | D | 8 | 1.5473e-07 | 1.5473e-07
D9 | D | 9 | 1.5141e-07 | 1.5141e-07
D10 | D | 10 | 1.7654e-07 | 1.7654e-07
D11 | D | 11 | -999 | --
D12 | D | 12 | -999 | --
E1 | E | 1 | 1.6071e-07 | 1.6071e-07
E2 | E | 2 | 1.3206e-07 | 1.3206e-07
E3 | E | 3 | 1.5675e-07 | 1.5675e-07
E4 | E | 4 | 1.808e-07 | 1.808e-07
E5 | E | 5 | 1.8904e-07 | 1.8904e-07
E6 | E | 6 | 1.9378e-07 | 1.9378e-07
E7 | E | 7 | 2.3668e-07 | 2.3668e-07
E8 | E | 8 | 2.1939e-07 | 2.1939e-07
E9 | E | 9 | 2.3564e-07 | 2.3564e-07
E10 | E | 10 | 2.4138e-07 | 2.4138e-07
E11 | E | 11 | -999 | --
E12 | E | 12 | -999 | --
F1 | F | 1 | 1.3565e-07 | 1.3565e-07
F2 | F | 2 | 1.7439e-07 | 1.7439e-07
F3 | F | 3 | 1.1568e-07 | 1.1568e-07
F4 | F | 4 | 1.8419e-07 | 1.8419e-07
F5 | F | 5 | 1.7466e-07 | 1.7466e-07
F6 | F | 6 | 1.6921e-07 | 1.6921e-07
F7 | F | 7 | 2.0615e-07 | 2.0615e-07
F8 | F | 8 | 1.9687e-07 | 1.9687e-07
F9 | F | 9 | 2.2469e-07 | 2.2469e-07
F10 | F | 10 | 2.2218e-07 | 2.2218e-07
F11 | F | 11 | -999 | --
F12 | F | 12 | -999 | --
G1 | G | 1 | 1.5376e-07 | 1.5376e-07
G2 | G | 2 | 1.8698e-07 | 1.8698e-07
G3 | G | 3 | 2.0166e-07 | 2.0166e-07
G4 | G | 4 | 1.9945e-07 | 1.9945e-07
G5 | G | 5 | 1.4962e-07 | 1.4962e-07
G6 | G | 6 | 1.3836e-07 | 1.3836e-07
G7 | G | 7 | 1.8292e-07 | 1.8292e-07
G8 | G | 8 | 1.9341e-07 | 1.9341e-07
G9 | G | 9 | 2.0608e-07 | 2.0608e-07
G10 | G | 10 | 2.2123e-07 | 2.2123e-07
G11 | G | 11 | -999 | --
G12 | G | 12 | -999 | --
H1 | H | 1 | 1.6478e-07 | 1.6478e-07
H2 | H | 2 | 1.1056e-07 | 1.1056e-07
H3 | H | 3 | 2.0937e-07 | 2.0937e-07
H4 | H | 4 | 2.134e-07 | 2.134e-07
H5 | H | 5 | 1.6557e-07 | 1.6557e-07
H6 | H | 6 | 1.5901e-07 | 1.5901e-07
H7 | H | 7 | 1.8547e-07 | 1.8547e-07
H8 | H | 8 | 1.9489e-07 | 1.9489e-07
H9 | H | 9 | 2.1993e-07 | 2.1993e-07
H10 | H | 10 | 2.2762e-07 | 2.2762e-07
H11 | H | 11 | -999 | --
H12 | H | 12 | -999 | --